Small Business Energy Saver Program - Program Activity Schedule, Version 6 Date of publication: 10/02/22

Note: The SBESP bonus is capped at $2,000 per eligible business. The maximum bonus amount an AP can claim for an upgrade is the lesser of either: a) the SBESP bonus available or b) the total combined cost of the product’s Recommended Retail Price (RRP) and reasonable delivery and/or installation costs. The Program Activity Schedule will change over the course of the program to ensure program objectives are met. Any changes apply only to allocations provided to Accredited Providers after the schedule’s date of publication. Previous versions of the Program Activity Schedule have been included below the main table for reference and comparison purposes. \*Please note, the SBESP Program no longer supports the installation of Activity 22C and 22D.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Metro** | **Regional** |  |
| **Activity** | **To Be Removed** | **To Be Installed** | **Size****if****applicable** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)** **(a x b = c)** | **SV Bonus****c x $40 = $** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | Maximum no. of units per business |
| **Hot Water systems** |
| 1A | Inefficient electric water heater | Gas storage water heater (1A) |  | 18 | 0.13 | 2.34 | 94 | 19 | 0.22 | 4.18 | 167 |  |
| 1B | Gas instantaneous water heater | 19 | 0.15 | 2.85 | 114 | 20 | 0.20 | 4.0 | 160 |  |
| 1C | Electric boosted solar water heater | 31 | 0.14 | 4.34 | 174 | 33 | 0.21 | 6.93 | 277 |  |
| 1D | Heat pump water heater | 22 | 0.30 | 6.60 | 264 | 29 | 0.36 | 10.44 | 418 |  |
| 1F | Gas boosted solar water heater | 35 | 0.79 | 27.65 | 1106 | 37 | 0.89 | 32.93 | 1317 |  |
| 3B | Inefficient gas water heater | Efficient gas boosted solar water heater | 9 | 5.37 | 48.33 | 1933 | 9 | 5.52 | 49.66 | 1987 |  |
| **Heating and Cooling** |
| 10A(i) | Hard-wired electric room heater | Efficient reverse cycle air- conditioner (air to air heat pump) |  | 19 | 1.31 | 24.89 | 996 | 20 | 1.47 | 29.40 | 1176 |  |
| 10A(ii) | Room air-conditioner (air to air heat pump) or other room heater | 1 | 29.17 | 29.17 | 1166 | 2 | 27.42 | 54.84 | 2000 |  |
| 10A(iii) | Plug in electric heater or wood fired heater | 8 | 5.50 | 44.00 | 1760 | 8 | 5.17 | 41.36 | 1654 |  |
| 10A(iv) | Refrigerative air conditioner (non-ducted) and hard-wired electric room heater | 23 | 0.77 | 17.70 | 708 | 24 | 0.90 | 21.60 | 864 |  |
| 10A(v) | Refrigerative air conditioner (non-ducted) and plug-in electric room heater | 9 | 4.03 | 36.27 | 1450 | 10 | 4.14 | 41.40 | 1656 |  |
| 10A(vi) | Refrigerative air conditioner (non- ducted) and gas room heater | 3 | 14.60 | 43.80 | 1752 | 2 | 19.16 | 38.32 | 1533 |  |
| **Refrigerated Display Cabinets, Fridges and Freezers** |
| 32A (i) | n/a | An efficient refrigerated display cabinet listed on the ESC's product register | 0.0678-1.0678m2 | 8 | 2.53 | 20.24 | 810 | 8 | 3.32 | 26.56 | 1062 |  |
| 32A (ii) | 1.0678-2.0678m2 | 19 | 1.71 | 32.49 | 1300 | 20 | 2.00 | 40.00 | 1600 |  |
| 32A (iii) | 2.0678-3.0678m2 | 30 | 1.08 | 32.40 | 1296 | 32 | 1.39 | 44.48 | 1779 |  |
| 32A – (>3m2) | larger than3.0m2 | 44 | 0.89 | 39.2 | 1566 | 41 | 1.04 | 42.64 | 1706 |  |
| 22A | n/a | Single door refrigerator |  | 1 | 8.05 | 8.05 | 322 | 1 | 12.56 | 12.56 | 502 | 1 |
| 22B | Two-door refrigerator |  | 1 | 8.05 | 8.05 | 322 | 1 | 12.65 | 12.65 | 506 | 1 |
| **Refrigerated Display Cabinets** |
| 32A(i)Refrigerated Display Cabinet (RDC) or gelato or ice-cream scooping cabinet |  | Class 1  |  | 14 | 1.99 | 27.86 | 1114 | 15 | 2.15 | 32.25 | 1290 |  |
| Class 2  |  | 16 | 1.76 | 28.16 | 1126 | 17 | 1.85 | 31.45 | 1258 |  |
| Class 6 |  | 36 | 0.06 | 2.16 | 86 | 38 | 0.11 | 4.18 | 167 |  |
| Class 7  |  | 30 | 0.94 | 28.20 | 1128 | 32 | 1.02 | 32.64 | 1306 |  |
| Class 8  |  | 38 | 0.63 | 23.94 | 958 | 40 | 0.75 | 30.00 | 1200 |  |
| Class 11  |  | 7 | 3.83 | 26.81 | 1072 | 8 | 4.07 | 32.56 | 1302 |  |
| Class 12  |  | 33 | 0.84 | 27.72 | 1109 | 35 | 0.93 | 32.55 | 1302 |  |
| Class 13  |  | - |  |  |  |  |  |  |  |  |
| Class 14  |  | 60 | 0.47 | 28.20 | 1128 | 64 | 0.50 | 32.00 | 1280 |  |
| Class 15 |  | 142 | 0.19 | 27.98 | 1079 | 151 | 0.22 | 33.22 | 1329 |  |
| 32A(ii)Ice-cream freezer  | n/a | Class 5 |  |  |  |  |  |  |  |  |  |  |
| 32A(iii)Refrigerated storage cabinet (RSC) | n/a | Class 3 | Heavy Duty | 5 | 5.67 | 28.35 | 1134 | 5 | 6.22 | 31.10 | 1244 |  |
| Class 4  | Heavy Duty | 10 | 2.82 | 28.20 | 1128 | 11 | 3.02 | 33.22 | 1329 |  |
| Class 9  | Heavy Duty | 4 | 7.75 | 31.00 | 1240 | 4 | 8.53 | 34.12 | 1365 |  |
| Class 10 | Heavy Duty | 11 | 2.56 | 28.16 | 1126 | 12 | 2.73 | 32.76 | 1310 |  |
| 32A(iii) | n/a | Class 3  | Normal & Light Duty | 5 | 6.02 | 30.10 | 1204 | 5 | 6.61 | 33.05 | 1322 |  |
| Class 4  | Normal & Light Duty | 8 | 3.59 | 28.72 | 1149 | 8 | 3.89 | 31.12 | 1245 |  |
| Class 9  | Normal & Light Duty | 2 | 12.09 | 24.18 | 967 | 2 | 13.41 | 26.82 | 1073 |  |
| Class 10 | Normal & Light Duty | 7 | 4.18 | 29.26 | 1170 | 7 | 4.55 | 31.85 | 1274 |  |
| **Motors** |
| 33A | n/a | Fan motor in a display cabinet, commercial freezer or cool room |  | 2 | 1.39 | 2.78 | 111 | 2 | 1.51 | 3.02 | 121 |  |
| 33B | n/a | Fan motor in a ducted fan or partition fan |  | 13 | 0.63 | 8.19 | 328 | 14 | 0.72 | 10.08 | 403 |  |
| 31A | n/a | High Efficiency MEPS listed motor installation |  | 1 | 5.38 | 5.38 | 215 | 1 | 6.13 | 6.13 | 245 |  |
| 36 | n/a | Water efficient pre-rinse spray valves |  | 5 | 0.27 | 1.35 | 54 | 6 | 0.19 | 1.14 | 46 |  |
| **Cold Rooms** |
| 43A (>0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (>0oC) |  | 16 | 1.60 | 25.60 | 1024 | 17 | 1.77 | 30.09 | 1204 |  |
| 43A (<0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (<0oC) |  | 23 | 0.64 | 14.72 | 589 | 24 | 0.76 | 18.24 | 730 |  |
| 43B(i) (>0) |  | A refrigeration system that includes at minimum three of specified components (>0oC) |  | 33 | 1.37 | 45.21 | 1808 | 35 | 1.21 | 42.35 | 1694 |  |
| 43B(i) (<0) |  | A refrigeration system that includes at minimum three of specified components (<0oC) |  | 46 | 0.97 | 44.62 | 1785 | 48 | 0.90 | 43.20 | 1728 |  |
| 43B(ii) (>0) |  | A refrigeration system that includes at minimum all specified components (>0oC) |  | 49 | 0.92 | 45.08 | 1803 | 52 | 0.84 | 43.68 | 1747 |  |
| 43B(ii) (<0) |  | A refrigeration system that includes at minimum all specified components (<0oC) |  | 68 | 0.66 | 44.88 | 1795 | 73 | 0.60 | 43.80 | 1752 |  |

Small Business Energy Saver Program - Program Activity Schedule, Version 5 Date of publication: 2/12/21

Note: The SBESP bonus is capped at $2,000 per eligible business. The maximum bonus amount an AP can claim for an upgrade is the lesser of either: a) the SBESP bonus available or b) the total combined cost of the product’s Recommended Retail Price (RRP) and reasonable delivery and/or installation costs.

The Program Activity Schedule will be changed over the course of the program to ensure program objectives are met. Any changes apply only to allocations provided to Accredited Providers after the schedule’s date of publication. Previous versions of the Program Activity Schedule have been included below the main table for reference and comparison purposes.

\*\* Please note if you are installing Activity part 22C and part 22D, please get in touch with the SBES team. Note that the maximum bonus will be $300 metro and $500 regional for all Part 22

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Metro** | **Regional** |  |
| **Activity** | **To Be Removed** | **To Be Installed** | **Size (if****applicable)** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | Maximum no. of units per business |
| **Hot Water systems** |
| 1A | Inefficient electric water heater | Gas storage water heater(1A) |  | 22 | 0.13 | 2.86 | $114 | 24 | 0.22 | 5.28 | $211 |  |
| 1B | Gas instantaneous waterheater | 23 | 0.12 | 2.76 | $110 | 24 | 0.2 | 4.8 | $192 |  |
| 1C | Electric boosted solar waterheater | 36 | 0.14 | 5.04 | $201 | 38 | 0.2 | 7.6 | $304 |  |
| 1D | Heat pump water heater | 26 | 0.29 | 7.54 | $301 | 29 | 0.4 | 11.6 | $464 |  |
| 1F | Gas boosted solar waterheater | 41 | 0.79 | 32.39 | $1,295 | 44 | 0.9 | 39.6 | $1,584 |  |
| 3B | Inefficient gas water heater | Efficient gas boosted solarwater heater | 9 | 5.36 | 48.24 | $1930 | 9 | 5.52 | 49.7 | $1987 |  |
| **Heating and Cooling** |
| 10A(i) | Hard-wired electric room heater | Efficient reverse cycle air- conditioner (air to air heat pump) |  | 22 | 1.3 | 28.6 | $1,144 | 23 | 1.47 | 33.81 | $1,352 |  |
| 10A(ii) | Room air-conditioner (air to airheat pump) or other room heater | 2 | 29.2 | 58.4 | $2,000 | 2 | 27.42 | 54.84 | $2,000 |  |
| 10A(iii) | Plug in electric heater or woodfired heater | 9 | 5.5 | 49.5 | $1,980 | 10 | 5.17 | 51.7 | $2,000 |  |
| 10A(iv) | Refrigerative air conditioner (non-ducted) and a hard-wired electric room heater | 26 | 0.8 | 20.8 | $832 | 28 | 0.9 | 25.2 | $1,008 |  |
| 10A(v) | Refrigerative air conditioner (non-ducted) and a plug in electric room heater | 12 | 4.0 | 48 | $1,920 | 12 | 4.14 | 49.68 | $1,987 |  |
| 10A(vi) | Refrigerative air conditioner (non- ducted) and a gas room heater | 3 | 14.6 | 43.8 | $1,752 | 3 | 19.16 | 57.48 | $2,000 |  |
| **Refrigerated Display Cabinets, Fridges and Freezers**  |
| 32A (i) | n/a | An efficient refrigerated display cabinet listed on the ESC's product register | 0.0678-1.0678 m2 | 10 | 2.53  | 25.3 | 1012 | 9 | 3.32 | 29.88 | 1,195 |  |
| 32A (ii) | 1.0678-2.0678 m2 | 24 | 1.71  | 41.04 | 1642 | 22 | 2.00 | 44 | 1,760 |  |
| 32A (iii) | 2.0678-3.0678 m2 | 38 | 1.08  | 41.04 | 1642 | 35 | 1.39 | 48.65 | 1,946 |  |
| 32A – (>3m2) | larger than3.0 m2 | 51 | 0.88  | 44.88 | 1795 | 48 | 1.04 | 49.92 | 1,997 |  |
| 22A | n/a | Single door refrigerator |  | 1 | 7.95 | 7.95 | 318 | 1 | 12.6 | 12.6 | 504 | **1** |
| 22B | Two door refrigerator |  | 1 | 8.25 | 8.25 | 330 | 1 | 12.65 | 12.65 | 506 | **1** |
| 22C | A chest freezer |  | 0 | 8.25 | 0 | 0 | 0 | 8.25 | 0 | 0 | **1** |
| 22D | An upright freezer |  | 0 | 8.25 | 0 | 0 | 0 | 8.25 | 0 | 0 | **1** |
| **Refrigerated Cabinets** |
| **32A(i)**A refrigerated display cabinet (RDC) or a gelato or ice-cream scooping cabinet |  | Class 1  |  | 17 | 1.99  | 33.83 | 1353 | 18 | 2.15  | 38.7 | 1548 |  |
| Class 2  |  | 19 | 1.76  | 33.44 | 1338 | 20 | 1.85  | 37 | 1480 |  |
| Class 6 |  | 42 | 0.06  | 2.52 | 101 | 45 | 0.11  | 4.95 | 198 |  |
| Class 7  |  | 35 | 0.94  | 32.9 | 1316 | 37 | 1.02  | 37.74 | 1510 |  |
| Class 8  |  | 45 | 0.63  | 28.35 | 1134 | 47 | 0.75  | 35.25 | 1410 |  |
| Class 11  |  | 9 | 3.83  | 34.47 | 1379 | 9 | 4.07  | 36.63 | 1465 |  |
| Class 12  |  | 39 | 0.84  | 32.76 | 1310 | 41 | 0.93  | 38.13 | 1525 |  |
| Class 13  |  | - | - | - | - | - | - | - | - |  |
| Class 14  |  | 70 | 0.47  | 32.9 | 1316 | 75 | 0.50  | 37.5 | 1500 |  |
| Class 15 |  | 167 | 0.19  | 31.73 | 1269 | 177 | 0.22  | 38.94 | 1558 |  |
| **32A(ii)**An ice cream freezer cabinet | **n/a** | Class 5 |  | - | - | - | - | - | - | - | - |  |
| **32A(iii)**A Refrigerated storage cabinet (RSC) | **n/a** | Class 3 | Heavy Duty | 6 | 5.66  | 33.96 | 1358 | 6 | 6.22  | 37.32 | 1493 |  |
| Class 4  | Heavy Duty | 12 | 2.81  | 33.72 | 1349 | 13 | 3.02  | 39.26 | 1570 |  |
| Class 9  | Heavy Duty | 4 | 7.74  | 30.96 | 1238 | 4 | 8.53  | 34.12 | 1365 |  |
| Class 10 | Heavy Duty | 13 | 2.56  | 33.28 | 1331 | 14 | 2.73  | 38.22 | 1529 |  |
| **32A(iii)** | **n/a** | Class 3  | Normal and Light Duty | 5 | 6.02  | 30.1 | 1204 | 6 | 6.61  | 39.66 | 1586 |  |
| Class 4  | Normal and Light Duty | 9 | 3.58  | 32.22 | 1289 | 10 | 3.89  | 38.9 | 1556 |  |
| Class 9  | Normal and Light Duty | 3 | 12.09  | 36.27 | 1451 | 3 | 13.41  | 40.23 | 1609 |  |
| Class 10 | Normal and Light Duty | 8 | 4.18  | 33.44 | 1338 | 8 | 4.55  | 36.4 | 1456 |  |
| **Motors** |
| 33A | n/a | Fan motor in a display cabinet, commercial freezer or cool room |  | 2 | 1.39 | 2.78 | 111 | 2 | 1.51 | 3.02 | 121 |  |
| 33B | n/a | Fan motor in a ducted fan orpartition fan |  | 13 | 0.63 | 8.19 | 328 | 14 | 0.72 | 10.08 | 403 |  |
| 31A | n/a | High Efficiency MEPS listedmotor installation |  | 1 | 5.38 | 5.38 | 215 | 1 | 6.13 | 6.13 | 245 |  |
| 36 | n/a | Water efficient pre-rinsespray valves |  | 5 | 0.27 | 1.35 | 54 | 6 | 0.19 | 1.14 | 46 |  |
| **Cold rooms** |
| 43A (>0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (>0oC) |  | 19 | 1.59 | 30.21 | 1,208 | 20 | 1.77 | 35.4 | 1416 |  |
| 43A (<0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (<0oC) |  | 27 | 0.64 | 17.28 | 691 | 28 | 0.76 | 21.28 | 851 |  |
| 43B(i) (>0) |  | A refrigeration system that includes at a minimum three of the specified components (>0oC) |  | 38 | 1.37 | 52.06 | 2,000 | 41 | 1.23 | 50.43 | 2000 |  |
| 43B(i) (<0) |  | A refrigeration system that includes at a minimum three of the specified components (<0oC) |  | 53 | 0.96 | 50.88 | 2,000 | 57 | 0.90 | 51.3 | 2000 |  |
| 43B(ii) (>0) |  | A refrigeration system that includes at a minimum all of the specified components (>0oC) |  | 57 | 0.91 | 51.87 | 2,000 | 61 | 0.84 | 51.24 | 2000 |  |
| 43B(ii) (<0) |  | A refrigeration system that includes at a minimum all of the specified components (<0oC) |  | 80 | 0.65 | 52 | 2,000 | 85 | 0.60 | 51 | 2000 |  |

Small Business Energy Saver Program - Program Activity Schedule, Version 4. Date of publication: 25/10/21

Note: The SBESP bonus is capped at $2,000 per eligible business. The maximum bonus amount an AP can claim for an upgrade is the lesser of either: a) the SBESP bonus available or b) the total combined cost of the product’s Recommended Retail Price (RRP) and reasonable delivery and/or installation costs.

The Program Activity Schedule will be changed over the course of the program to ensure program objectives are met. Any changes apply only to allocations provided to Accredited Providers after the schedule’s date of publication. Previous versions of the Program Activity Schedule have been included below the main table for reference and comparison purposes.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Metro** | **Regional** |  |
| **Activity** | **To Be Removed** | **To Be Installed** | **Size (if****applicable)** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | Maximum no. of units per business |
| **Hot Water systems** |
| 1A | Inefficient electric water heater | Gas storage water heater(1A) |  | 22 | 0.13 | 2.86 |  $114 | 24 | 0.22 | 5.28 |  $211  |  |
| 1B | Gas instantaneous waterheater | 23 | 0.12 | 2.76 |  $110 | 24 | 0.2 | 4.8 |  $192  |  |
| 1C | Electric boosted solar waterheater | 36 | 0.14 | 5.04 |  $201  | 38 | 0.2 | 7.6 |  $304  |  |
| 1D | Heat pump water heater | 26 | 0.29 | 7.54 |  $301 | 29 | 0.4 | 11.6 |  $464  |  |
| 1F | Gas boosted solar waterheater | 41 | 0.79 | 32.39 |  $1,295  | 44 | 0.9 | 39.6 |  $1,584  |  |
| 3B | Inefficient gas water heater | Efficient gas boosted solarwater heater | 9 | 5.36 | 48.24 |  $2,000  | 9 | 5.3 | 47.7 |  $2,000  |  |
| **Heating and Cooling** |
| 10A(i) | Hard-wired electric room heater | Efficient reverse cycle air- conditioner (air to air heat pump) |  | 21.8 | 1.3 | 28.34 | $1,133 | 23.1 | 1.47 | 33.95 | $1,358 |  |
| 10A(ii) | Room air-conditioner (air to airheat pump) or other room heater | 1.7 | 29.17 | 49.58 | $2,000 | 1.8 | 27.42 | 49.35 | $2,000 |  |
| 10A(iii) | Plug in electric heater or woodfired heater | 9.2 | 5.5 | 50.6 | $2,000 | 9.7 | 5.17 | 50.14 | $2,000 |  |
| 10A(iv) | Refrigerative air conditioner (non-ducted) and a hard-wired electric room heater | 26.4 | 0.76 | 20.06 | $802 | 28.0 | 0.9 | 25.2 | $1,008 |  |
| 10A(v) | Refrigerative air conditioner (non-ducted) and a plug in electric room heater | 11.5 | 4.02 | 46.23 | $1,850 | 12.2 | 4.14 | 50.50 | $2,000 |  |
| 10A(vi) | Refrigerative air conditioner (non- ducted) and a gas room heater | 3.4 | 14.59 | 49.60 | $2,000 | 2.6 | 19.16 | 49.81 | $2,000 |  |
| **Refrigerated Display Cabinets, Fridges and Freezers**  |
| 32A (i) | n/a | An efficient refrigerated display cabinet listed on the ESC's product register | 0.0678-1.0678 m2 | 9.9 | 2.53  | 25.04 | 1000 | 9.4 | 3.32 | 31.20 | 1,250 |  |
| 32A (ii) | 1.0678-2.0678 m2 | 23.5 | 1.71  | 40.18 | 1,600 | 22.2 | 2.00 | 44.4 | 1,775 |  |
| 32A (iii) | 2.0678-3.0678 m2 | 37.6 | 1.08  | 40.60 | 1624 | 35.4 | 1.39 | 49.20 | 1970 |  |
| 32A – (>3m2) | larger than3.0 m2 | 51.3 | 0.88  | 45.14 | 1,800 | 48.4 | 1.04 | 50.33 | 2000 |  |
| 22A | n/a | Single door refrigerator |  | 0.9 | 7.95  | 7.15 | 286 | 1.0 | 12.56  | 12.56 | 502 | **1** |
| 22B | Two door refrigerator |  | 0.7 | 11.64  | 8.14 | 325 | 0.7 | 18.32  | 12.82 | 512 | **1** |
| 22C | A chest freezer |  | 0.3 | 26.33  | 7.89 | 315 | 0.3 | 41.25  | 12.37 | 492 | **1** |
| 22D | An upright freezer |  | 0.5 | 15.37  | 7.68 | 307 | 0.5 | 24.36  | 12.18 | 487 | **1** |
| **Motors** |
| 33A | n/a | Fan motor in a display cabinet, commercial freezer or cool room |  | 2 | 1.39 | 2.78 | $111.20 | 2 | 1.51 | 3.02 | $120.80 |  |
| 33B | n/a | Fan motor in a ducted fan orpartition fan |  | 13 | 0.63 | 8.19 | $327.60 | 14 | 0.72 | 10.08 | $403.20 |  |
| 31A | n/a | High Efficiency MEPS listedmotor installation |  | 1 | 5.38 | 5.38 | $215.20 | 1 | 6.13 | 6.13 | $245.20 |  |
| 36 | n/a | Water efficient pre-rinsespray valves |  | 5 | 0.27 | 1.35 | $54.00 | 6 | 0.19 | 1.14 | $45.60 |  |
| **Cold rooms** |
| 43A (>0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (>0oC) |  | 19.1 | 1.59  | 30.36 | 1,214 | 20.3 | 1.77  | 35.93 | 1435 |  |
| 43A (<0) |  | Installing an electronic expansion valve and superheat controller into a refrigeration system (<0oC) |  | 26.7 | 0.64  | 17.08 | 680 | 28.4 | 0.76  | 21.58 | 865 |  |
| 43B(i) (>0) |  | A refrigeration system that includes at a minimum three of the specified components (>0oC) |  | 38.2 | 1.37  | 52.33 | 2000 | 40.5 | 1.21  | 49 | 2000 |  |
| 43B(i) (<0) |  | A refrigeration system that includes at a minimum three of the specified components (<0oC) |  | 53.4 | 0.96  | 51.26 | 2000 | 56.7 | 0.90  | 51.03 | 2000 |  |
| 43B(ii) (>0) |  | A refrigeration system that includes at a minimum all of the specified components (>0oC) |  | 57.3 | 0.91  | 52.14 | 2000 | 60.8 | 0.84  | 51.07 | 2000 |  |
| 43B(ii) (<0) |  | A refrigeration system that includes at a minimum all of the specified components (<0oC) |  | 80.2 | 0.65  | 52.13 | 2000 | 85.1 | 0.60  | 51.06 | 2000 |  |

Small Business Energy Saver Program - Program Activity Schedule, Version 3. Date of publication: 12/08/2021

Note: The SBESP bonus is capped at $2,000 per eligible business. The maximum bonus amount an AP can claim for an upgrade is the lesser of either: a) the SBESP bonus available or b) the total combined cost of the product’s Recommended Retail Price (RRP) and reasonable delivery and/or installation costs.

The Program Activity Schedule will be changed over the course of the program to ensure program objectives are met. Any changes apply only to allocations provided to Accredited Providers after the schedule’s date of publication. Previous versions of the Program Activity Schedule have been included below the main table for reference and comparison purposes.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Metro** | **Regional** |  |
| **Activity** | **To Be Removed** | **To Be Installed** | **Size (if****applicable)** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | Maximum no. of units per business |
| **Hot Water systems** |
| 1A | Inefficient electric water heater | Gas storage water heater(1A) |  | 27 | 0.36 | 9.72 | $388.80 | 28 | 0.43 | 12.04 | $481.60 |  |
| 1B | Gas instantaneous waterheater | 27 | 0.10 | 2.70 | $108.00 | 29 | 0.16 | 4.64 | $185.60 |  |
| 1C | Electric boosted solar waterheater | 41 | 0.54 | 22.14 | $885.60 | 44 | 0.62 | 27.28 | $1,091.20 |  |
| 1D | Heat pump water heater | 29 | 0.45 | 13.05 | $522.00 | 31 | 0.53 | 16.43 | $657.20 |  |
| 1F | Gas boosted solar waterheater | 47 | 1.06 | 49.82 | $1,992.80 | 50 | 1.00 | 50.00 | $2,000 |  |
| 3B | Inefficient gas water heater | Efficient gas boosted solarwater heater | 9 | 5.42 | 48.78 | $1,951.20 | 9 | 5.44 | 48.96 | 1,958.40 |  |
| **Heating and Cooling** |
| 10A(i) | Hard-wired electric room heater | Efficient reverse cycle air- conditioner (air to air heat pump) |  | 25 | 1.65 | 41.25 | $1,650.00 | 27 | 1.79 | 48.33 | $1,933.20 |  |
| 10A(ii) | Room air-conditioner (air to airheat pump) or other room heater | 2 | 26.05 | 52.10 | $2,000 | 2 | 25.00 | 50.00 | $2,000.00 |  |
| 10A(iii) | Plug in electric heater or woodfired heater | 11 | 4.73 | 52.03 | $2,000 | 11 | 4.47 | 49.17 | $1,966.80 |  |
| 10A(iv) | Refrigerative air conditioner (non-ducted) and a hard-wired electric room heater | 30 | 1.20 | 36.00 | $1,440.00 | 30 | 1.31 | 39.30 | $1,572.00 |  |
| 10A(v) | Refrigerative air conditioner (non-ducted) and a plug in electric room heater | 13 | 3.93 | 51.09 | $2,000 | 14 | 3.71 | 51.90 | $2,000.00 |  |
| 10A(vi) | Refrigerative air conditioner (non- ducted) and a gas room heater | 3 | 19.85 | 59.55 | $2,000 | 2 | 26.11 | 52.22 | $2,000.00 |  |
| **Refrigerated Display Cabinets, Fridges and Freezers**  |
| 32A (i) | n/a | An efficient refrigerated display cabinet listed on the ESC's product register | 0.0678-1.0678 m2 | 11 | 4.00 | 44.00 | $1,760.00 | 12 | 4.14 | 49.68 | $1,987.20 |  |
| 32A (ii) | 1.0678-2.0678 m2 | 25 | 1.99 | 49.75 | $1,990.00 | 27 | 1.88 | 50.76 | $2,000 |  |
| 32A (iii) | 2.0678-3.0678 m2 | 40 | 1.26 | 50.40 | $2,000 | 42 | 1.19 | 49.98 | $1,999.20 |  |
| 32A – (>3m2) | larger than3.0 m2 | from ESC | 1.26 |  | $2,000 | from ESC | 1.19 |  | $2,000 |  |
| 22A | n/a | Single door refrigerator |  | 1 | 20.20 | 20.20 | $808.00 | 1 | 21.41 | 21.41 | $856.40 | **1** |
| 22B | Two door refrigerator |  | 1 | 24.50 | 24.50 | $980.00 | 1 | 27.50 | 27.50 | $1,100.00 | **1** |
| 22C | A chest freezer |  | 1 | 20.30 | 20.30 | $812.00 | 1 | 22.80 | 22.80 | $912.00 | **1** |
| 22D | An upright freezer |  | 2 | 12.90 | 25.80 | $1,032.00 | 2 | 13.60 | 27.20 | $1,088.00 | **1** |
| **Motors** |
| 33A | n/a | Fan motor in a display cabinet, commercial freezer or cool room |  | 2 | 1.39 | 2.78 | $111.20 | 2 | 1.51 | 3.02 | $120.80 |  |
| 33B | n/a | Fan motor in a ducted fan orpartition fan |  | 13 | 0.63 | 8.19 | $327.60 | 14 | 0.72 | 10.08 | $403.20 |  |
| 31A | n/a | High Efficiency MEPS listedmotor installation |  | 1 | 5.38 | 5.38 | $215.20 | 1 | 6.13 | 6.13 | $245.20 |  |
| 36 | n/a | Water efficient pre-rinsespray valves |  | 5 | 0.27 | 1.35 | $54.00 | 6 | 0.19 | 1.14 | $45.60 |  |

Small Business Energy Saver Program - Program Activity Schedule, Version 2. Date of publication: April 2021 (SUPERSEDED BY V3 and V4)

|  |  |  |
| --- | --- | --- |
|  | **Metro** | **Regional** |
| **Activity** | **To Be Removed** | **To Be Installed** | **Size (if****applicable)** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** | **VEECs (a)** | **Multiplier (b)** | **Vouchers (c)****(a x b = c)** | **SV Bonus****c x $40 = $** |
| **Hot water system** |
| 1A | Inefficient electric water heater | Gas storage water heater(1A) |  | 27 | 0.36 | 9.72 | $388.80 | 28 | 0.43 | 12.04 | $481.60 |
| 1B | Gas instantaneous waterheater | 27 | 0.10 | 2.70 | $108.00 | 29 | 0.16 | 4.64 | $185.60 |
| 1C | Electric boosted solar waterheater | 41 | 0.54 | 22.14 | $885.60 | 44 | 0.62 | 27.28 | $1,091.20 |
| 1D | Heat pump water heater | 29 | 0.45 | 13.05 | $522.00 | 31 | 0.53 | 16.43 | $657.20 |
| 1F | Gas boosted solar waterheater | 47 | 1.06 | 49.82 | $1,992.80 | 50 | 1.00 | 50.00 | $2,000 |
| 3B | Inefficient gas water heater | Efficient gas boosted solarwater heater | 9 | 5.42 | 48.78 | $1,951.20 | 9 | 5.44 | 48.96 | 1,958.40 |
| **Heating and Cooling** |
| 10A(i) | Hard-wired electric room heater | Efficient reverse cycle air- conditioner (air to air heat pump) |  | 25 | 1.65 | 41.25 | $1,650.00 | 27 | 1.79 | 48.33 | $1,933.20 |
| 10A(ii) | Room air-conditioner (air to airheat pump) or other room heater | 2 | 26.05 | 52.10 | $2,000 | 2 | 25.00 | 50.00 | $2,000.00 |
| 10A(iii) | Plug in electric heater or woodfired heater | 11 | 4.73 | 52.03 | $2,000 | 11 | 4.47 | 49.17 | $1,966.80 |
| 10A(iv) | Refrigerative air conditioner (non-ducted) and a hard-wired electric room heater | 30 | 1.20 | 36.00 | $1,440.00 | 30 | 1.31 | 39.30 | $1,572.00 |
| 10A(v) | Refrigerative air conditioner (non-ducted) and a plug in electric room heater | 13 | 3.93 | 51.09 | $2,000 | 14 | 3.71 | 51.90 | $2,000.00 |
| 10A(vi) | Refrigerative air conditioner (non- ducted) and a gas room heater | 3 | 19.85 | 59.55 | $2,000 | 2 | 26.11 | 52.22 | $2,000.00 |
| **Refrigerated Display Cabinets, Fridges and Freezers** |
| 32A (i) | n/a | An efficient refrigerated display cabinet listed on the ESC's product register | 0.0678-1.0678 m2 | 11 | 4.00 | 44.00 | $1,760.00 | 12 | 4.14 | 49.68 | $1,987.20 |
| 32A (ii) | 1.0678-2.0678 m2 | 25 | 1.99 | 49.75 | $1,990.00 | 27 | 1.88 | 50.76 | $2,000 |
| 32A (iii) | 2.0678-3.0678 m2 | 40 | 1.26 | 50.40 | $2,000 | 42 | 1.19 | 49.98 | $1,999.20 |
| 32A – (>3m2) | larger than3.0 m2 | from ESC | 1.26 |  | $2,000 | from ESC | 1.19 |  | $2,000 |
| 22A | n/a | Single door refrigerator |  | 1 | 20.20 | 20.20 | $808.00 | 1 | 21.41 | 21.41 | $856.40 |
| 22B | Two door refrigerator |  | 1 | 24.50 | 24.50 | $980.00 | 1 | 27.50 | 27.50 | $1,100.00 |
| 22C | A chest freezer |  | 1 | 20.30 | 20.30 | $812.00 | 1 | 22.80 | 22.80 | $912.00 |
| 22D | An upright freezer |  | 2 | 12.90 | 25.80 | $1,032.00 | 2 | 13.60 | 27.20 | $1,088.00 |
| **Motors** |
| 33A | n/a | Fan motor in a display cabinet, commercial freezer or cool room |  | 2 | 1.39 | 2.78 | $111.20 | 2 | 1.51 | 3.02 | $120.80 |
| 33B | n/a | Fan motor in a ducted fan orpartition fan |  | 13 | 0.63 | 8.19 | $327.60 | 14 | 0.72 | 10.08 | $403.20 |
| 31A | n/a | High Efficiency MEPS listedmotor installation |  | 1 | 5.38 | 5.38 | $215.20 | 1 | 6.13 | 6.13 | $245.20 |
| 36 | n/a | Water efficient pre-rinsespray valves |  | 5 | 0.27 | 1.35 | $54.00 | 6 | 0.19 | 1.14 | $45.60 |